**Twice daily recording of Freezer Temperature**

**Location: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_** **Month: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Date** | **Freezer Temp AM** | **Checked and Signed** | **Comment/****Action Taken** | **Freezer Temp PM** | **Checked and Signed** | **Comment/****Action Taken** |
| **1st** |  |  |  |  |  |  |
| **2nd** |  |  |  |  |  |  |
| **3rd** |  |  |  |  |  |  |
| **4th** |  |  |  |  |  |  |
| **5th** |  |  |  |  |  |  |
| **6th** |  |  |  |  |  |  |
| **7th** |  |  |  |  |  |  |
| **8th** |  |  |  |  |  |  |
| **9th** |  |  |  |  |  |  |
| **10th** |  |  |  |  |  |  |
| **11th** |  |  |  |  |  |  |
| **12th** |  |  |  |  |  |  |
| **13th** |  |  |  |  |  |  |
| **14th** |  |  |  |  |  |  |
| **15th** |  |  |  |  |  |  |
| **16th** |  |  |  |  |  |  |
| **17th** |  |  |  |  |  |  |
| **18th** |  |  |  |  |  |  |
| **19th** |  |  |  |  |  |  |
| **20th** |  |  |  |  |  |  |
| **24th** |  |  |  |  |  |  |
| **25th** |  |  |  |  |  |  |
| **26th** |  |  |  |  |  |  |
| **27th** |  |  |  |  |  |  |
| **28th** |  |  |  |  |  |  |
| **29th** |  |  |  |  |  |  |
| **30th** |  |  |  |  |  |  |
| **31st** |  |  |  |  |  |  |

**Safe Working Temperature for Freezer is below -18ºC**

**If temperature higher than -18ºc check in 1 hour and contact Estates/ Private Contractor and if not within acceptable temperature range report freezer as faulty.**